# Pilot Deployment Results

Sample document. Numbers are illustrative but internally consistent.

This document summarizes real-world deployment results from HealthCo's seven health-system pilots, covering the period from each site's go-live through March 2026.

# Cohort

| # | Site | Go-Live | Echos Analyzed | Cases Flagged | Newly Diagnosed Amyloidosis* |
| --- | --- | --- | --- | --- | --- |
| 1 | Mass General Brigham | Apr 2023 | 4,820 | 312 | 14 |
| 2 | Cleveland Clinic | Sep 2023 | 4,210 | 268 | 11 |
| 3 | Mayo Clinic | Jan 2024 | 2,940 | 184 | 8 |
| 4 | Atrium Health | Mar 2024 | 1,680 | 105 | 5 |
| 5 | Banner Health | Jun 2024 | 1,490 | 92 | 4 |
| 6 | Intermountain Health | Sep 2024 | 1,560 | 96 | 3 |
| 7 | Henry Ford Health | Nov 2024 | 1,300 | 79 | 2 |
| Total |  |  | 18,000 | 1,136 | 47 |

*"Newly diagnosed" means a patient with no prior amyloidosis diagnosis on chart at the time of EchoPilot flagging, who was subsequently confirmed positive via MRI, PYP, or biopsy.

# Headline Findings

18,000+ echos analyzed across 7 health systems in the production environment

47 newly identified amyloidosis cases that would not have been diagnosed (or would have been diagnosed materially later) under standard care

Median time from EchoPilot flag → confirmed diagnosis: 38 days (IQR 21 – 64). This compares favorably to literature-reported pre-AI median time-to-diagnosis of >2 years for ATTR amyloidosis.

Estimated time-to-diagnosis acceleration: 84 days mean across the pilot cohort (consistent with the JACC retrospective substudy)

# Workflow Integration

EchoPilot deploys via direct PACS integration (DICOM) and Epic / Cerner alerting:

Median latency from study acquisition to EchoPilot result: 4.2 minutes

Cardiologist agreement with EchoPilot at adjudication: 91.4% (true positives), 94.1% (true negatives)

Average cardiologist time spent reviewing flagged studies: 7.8 minutes (a small overhead vs. unflagged routine read of ~5 minutes)

# Real-World Performance

Performance in the pilot deployment period (limited by reference-standard availability for negatives) is consistent with the pivotal validation:

Sensitivity (estimated, by limited follow-up confirmation): ~89%

Specificity (estimated): ~88%

A formal real-world performance manuscript is under preparation (target 2026 submission).

# Site Engagement

All seven sites have either renewed their initial pilot terms or are in active renewal discussions:

4 sites converting from pilot to full enterprise license in 2026 (in negotiation)

2 sites mid-renewal at expanded scope (additional service lines)

1 site (Henry Ford) on initial term, decision Q3 2026

Several pilot site PIs are co-authors on the JACC paper and co-presenters at AHA 2025 / ACC.26.

# Patient and Provider Experience

Cardiologist NPS at pilot sites (n=42 respondents): +58. Top qualitative themes:

"Catches what I would miss" — preserved-EF cases especially called out

"Workflow doesn't slow me down" — PACS integration well-received

Concerns: confidence-gating threshold occasionally too aggressive in high-volume community sites; tunable per site since v3.1

# Adverse Events

No adverse events have been reported. One voluntary MDR follow-up to the FDA in September 2024 (described in 03-Regulatory/pre-submission-meetings.md) involved a single field event with no patient harm and no required action.

# Linked Artifacts

Full per-site cohort breakdowns and de-identified case-level data: Tier 3 only

Cardiologist NPS survey instrument and free-text responses: Tier 3

Pilot site MSAs: Tier 3 (01-Corporate/material-agreements-index.md)